Disability: Accessibility Checklist

This is a very basic checklist to alert you to possible difficulties in the accessibility of your church building.  It should be noted that a positive answer to all the points does not mean that your church complies with a generally accepted accessibility standard or Part M of the Building Regulations.

| Basic Accessibility |  | Yes | No |
| --- | --- | --- | --- |
|  | Do you have a reserved parking space for Blue Badge holders close to your church buildings? |  |  |
|  | Is the slope of paths not greater than 5%? |  |  |
| 3. | Are paths of a continuing common surface, not interrupted by steps? |  |  |
| Ramps |  |  |  |
|  | Do ramps have a slope no greater than 1:12 and width of no less than 1.2m? |  |  |
|  | Are the edges of ramps clearly visible and are handrails necessary? |  |  |
| Entrances and Exits |  |  |  |
|  | Is at least one primary entrance to each building usable by wheelchair users? |  |  |
| Doors and Doorways |  |  |  |
|  | Do doors have a clear opening of 800mm or more? |  |  |
| 10. | Can doors be opened easily by a wheelchair user or other disabled person? |  |  |
| Floors |  |  |  |
|  | Is the floor level each side of doors? |  |  |
|  | Are the door thresholds a maximum 13mm high? |  |  |
| Worship Space |  |  |  |
| 12. | Is there an induction loop for hearing aid users? |  |  |
|  | Is there a clear sign that there is such a loop? |  |  |
|  | Is there adequate lighting, arranged such that there are no shadows on those speaking or interpreting? |  |  |
|  | If an overhead projector or screen is used, are there large print paper copies available for people who cannot see the screen? |  |  |
|  | Is there space for wheelchair users? |  |  |
|  | Are there seats with arms and extra legroom for people with mobility impairment? |  |  |
|  | Is there a family/quiet play area in the church? |  |  |
| Toilets |  |  |  |
|  | Is there an accessible toilet for use by wheelchair users? |  |  |
| Other areas |  |  |  |
|  | Can disabled people access refreshments with straight sided mugs and straws available? |  |  |
| 20. | Do you offer large print orders of all services and hymns? |  |  |